## Bid Item List
Acre
CY
Each
FT
Gal
Hour
LB
LF
LS
Mile
SF
SY
Ton
PORTLAND INTERNATIONAL AIRPORT
OREGON AIR NATIONAL GUARD
REVERSION AREAS UTILITY SERVICES
Item No. | Item Description | Estimated Quantity | Units | Unit Price | Total Price
0001 | Mobilization, Surveying, Cleanup, and Demobilization | 1 | LS
0002 | Traffic Control | 1 | LS
0003 | Sweeper | 1 | LS
0004 | Tree and Plant Protection | 1 | LS
0005 | Temporary Erosion, Sediment, and Pollution Control | 1 | LS
0006 | Surfacings Removal | 1700 | SY
0007 | Signage | 1 | LS
0008 | PVC Conduit (Power) - 6 Inch | 6500 | LF
0009 | PVC Conduit (Power) - 4 Inch | 1050 | LF
0010 | PVC Conduit (Power) - 3 Inch | 350 | LF
0011 | PVC Conduit (Power) - 2 Inch | 200 | LF
0012 | XHHW Conductor - #3 AWG (Power) | 450 | LF
0013 | XHHW Conductor - #6 AWG (Power) | 200 | LF
0014 | XHHW Conductor - #8 AWG (Power) | 200 | LF
0015 | XHHW Conductor - #10 AWG (Power) | 200 | LF
0016 | XHHW Conductor - #12 AWG (Power) | 1250 | LF
0017 | Electric Utility Meter Base - 200A Direct | 3 | Each
0018 | Metered Switchgear Installation | 1 | Each
0019 | Vault (Power) - 712-SWITCH-PCORP | 1 | Each
0020 | Vault (Power) - 575-TRANS-PCORP | 4 | Each
0021 | Vault (Power) - 575-PCORP | 2 | Each
0022 | Vault (Power) - 776-TRANS-PCORP | 2 | Each
0023 | Vault (Power) - 776-TRANS-PCORP (Traffic Rated) | 1 | Each
0024 | PVC Conduit (Comm) - 4 Inch | 12250 | LF
0025 | HDPE Interduct (Comm) - 1 1/4" | 9300 | LF
0026 | Vault (Comm) - 444-LA | 8 | Each
0027 | Vault (Comm) - 444-LA (Traffic Rated) | 1 | Each
0028 | Demarcation Panel with Receptacles, Heater, and T-Stat | 1 | Each
0029 | H-Frame Support | 2 | Each
0030 | Mini-Power Zone (10 KVA) | 1 | Each
0031 | Panelboard - 480Y/277V, 100A, 3-Phase, NEMA 3R | 1 | Each
0032 | Panelboard - 240/120V, 100A, 1-Phase, NEMA 3R | 1 | Each
0033 | Electrical Demo (Existing ORANG) | 1 | LS
0034 | Clearing and Grubbing | 1 | LS
0035 | Contaminated Soil Excavation and Disposal | 2900 | CY
0036 | Trench Excavation | 4800 | CY
0037 | Trenchless Installation | 330 | LF
0038 | Bedding and Pipe Zone Material | 2300 | CY
0039 | Trench Stabilization | 250 | CY
0040 | Level 3, 1/2-Inch Dense HMAC | 400 | Ton
0041 | Crack Seal | 7950 | LF
0042 | Aggregate Base Course | 550 | CY
0043 | Reinforced Concrete Pad | 840 | SF
0044 | Cast-In-Place Concrete Curb | 220 | LF
0045 | Concrete Sidewalk | 500 | SF
0046 | Pavement Marking | 2000 | SF
0047 | One-Year Landscape Maintenance | 1 | LS
0048 | Area Seeding | 0.5 | Acre
0049 | Mulch | 220 | SY
0050 | Irrigation Replacement | 1 | LS
0051 | 3-Inch DR9 Pex Water Pipe | 860 | LF
0052 | 4-Inch DIP Water Pipe | 1260 | LF
0053 | 12-Inch DIP Water Pipe | 110 | LF
0054 | 16-Inch DIP Water Pipe | 1800 | LF
0055 | 4-Inch Reduced Pressure Backflow Assembly and Enclosure | 1 | LS
0056 | 16-Inch Reduced Pressure Detector Assembly and Enclosure | 1 | LS
0057 | 3-Inch Gate Valve | 4 | Each
0058 | 4-Inch Gate Valve | 1 | Each
0059 | 8-Inch Gate Valve | 1 | Each
0060 | 16-Inch Butterfly Valve | 2 | Each
0061 | 2-Inch Water Meter | 2 | Each
0062 | 2-Inch Air Release Valve Assembly | 4 | Each
0063 | Central Water Meter Vault and Manifold | 1 | LS
0064 | Landside Utility Disconnections | 7 | Each
0065 | Airfield Fire Water Disconnection | 1 | LS
0066 | Fire Hydrant Assembly | 6 | Each
0067 | Manhole and Catch Basin Adjustment | 5 | Each
| Total Amount Bid (Basis of Award) |  |  |  | $___________

## Bid Tabulation
PORTLAND INTERNATIONAL AIRPORT |  |  |  | Kodiak Pacific Construction Co. |  | Magnum Power LLC |  | Engineer's Estimate
OREGON AIR NATIONAL GUARD
REVERSION AREAS UTILITY SERVICES
EAN 2021D001
Solicitation No. 2022-10053
2025-02-25
Item No. | Item Description | Estimated Quantity | Units | Unit Price | Total Price | Unit Price | Total Price | Unit Price | Total Price
0001 | Mobilization, Surveying, Cleanup, and Demobilization | 1 | LS | 249151 | 249151 | 60000 | 60000 | 283675 | 283675
0002 | Traffic Control | 1 | LS | 81000 | 81000 | 7500 | 7500 | 15000 | 15000
0003 | Sweeper | 1 | LS | 71000 | 71000 | 10000 | 10000 | 10000 | 10000
0004 | Tree and Plant Protection | 1 | LS | 10000 | 10000 | 5000 | 5000 | 2000 | 2000
0005 | Temporary Erosion, Sediment, and Pollution Control | 1 | LS | 65000 | 65000 | 25000 | 25000 | 17500 | 17500
0006 | Surfacings Removal | 1700 | SY | 15.5 | 26350 | 25 | 42500 | 11 | 18700
0007 | Signage | 1 | LS | 5000 | 5000 | 7500 | 7500 | 3500 | 3500
0008 | PVC Conduit (Power) - 6 Inch | 6500 | LF | 35 | 227500 | 42 | 273000 | 44.4813 | 289128.125
0009 | PVC Conduit (Power) - 4 Inch | 1050 | LF | 24.5 | 25725 | 30 | 31500 | 28.95 | 30397.5
0010 | PVC Conduit (Power) - 3 Inch | 350 | LF | 20 | 7000 | 25 | 8750 | 23.2812 | 8148.4375
0011 | PVC Conduit (Power) - 2 Inch | 200 | LF | 14.5 | 2900 | 12 | 2400 | 14.7188 | 2943.75
0012 | XHHW Conductor - #3 AWG (Power) | 450 | LF | 3.5 | 1575 | 6 | 2700 | 2.6371 | 1186.7062
0013 | XHHW Conductor - #6 AWG (Power) | 200 | LF | 2.35 | 470 | 6 | 1200 | 1.8459 | 369.19
0014 | XHHW Conductor - #8 AWG (Power) | 200 | LF | 1.75 | 350 | 6 | 1200 | 1.3782 | 275.65
0015 | XHHW Conductor - #10 AWG (Power) | 200 | LF | 1.3 | 260 | 6 | 1200 | 1.0704 | 214.075
0016 | XHHW Conductor - #12 AWG (Power) | 1250 | LF | 1.05 | 1312.5 | 5 | 6250 | 0.9134 | 1141.75
0017 | Electric Utility Meter Base - 200A Direct | 3 | Each | 815 | 2445 | 7500 | 22500 | 795.31 | 2385.93
0018 | Metered Switchgear Installation | 1 | Each | 6600 | 6600 | 20000 | 20000 | 5700 | 5700
0019 | Vault (Power) - 712-SWITCH-PCORP | 1 | Each | 20800 | 20800 | 25000 | 25000 | 28081.945 | 28081.945
0020 | Vault (Power) - 575-TRANS-PCORP | 4 | Each | 9900 | 39600 | 20000 | 80000 | 13743.195 | 54972.78
0021 | Vault (Power) - 575-PCORP | 2 | Each | 9100 | 18200 | 20000 | 40000 | 14835.195 | 29670.39
0022 | Vault (Power) - 776-TRANS-PCORP | 2 | Each | 13800 | 27600 | 25000 | 50000 | 16783.695 | 33567.39
0023 | Vault (Power) - 776-TRANS-PCORP (Traffic Rated) | 1 | Each | 13250 | 13250 | 25000 | 25000 | 19217.97 | 19217.97
0024 | PVC Conduit (Comm) - 4 Inch | 12250 | LF | 18.45 | 226012.5 | 30 | 367500 | 28.95 | 354637.5
0025 | HDPE Interduct (Comm) - 1 1/4" | 9300 | LF | 6.8 | 63240 | 5 | 46500 | 8.7 | 80910
0026 | Vault (Comm) - 444-LA | 8 | Each | 5800 | 46400 | 10000 | 80000 | 9460.195 | 75681.56
0027 | Vault (Comm) - 444-LA (Traffic Rated) | 1 | Each | 5890 | 5890 | 12000 | 12000 | 10795.95 | 10795.95
0028 | Demarcation Panel with Receptacles, Heater, and T-Stat | 1 | Each | 6400 | 6400 | 15500 | 15500 | 7750 | 7750
0029 | H-Frame Support | 2 | Each | 4000 | 8000 | 4500 | 9000 | 9000 | 18000
0030 | Mini-Power Zone (10 KVA) | 1 | Each | 6800 | 6800 | 9500 | 9500 | 7080 | 7080
0031 | Panelboard - 480Y/277V, 100A, 3-Phase, NEMA 3R | 1 | Each | 9500 | 9500 | 7000 | 7000 | 6980 | 6980
0032 | Panelboard - 240/120V, 100A, 1-Phase, NEMA 3R | 1 | Each | 7500 | 7500 | 7000 | 7000 | 5900 | 5900
0033 | Electrical Demo (Existing ORANG) | 1 | LS | 31000 | 31000 | 5000 | 5000 | 30812.5 | 30812.5
0034 | Clearing and Grubbing | 1 | LS | 66000 | 66000 | 40000 | 40000 | 27000 | 27000
0035 | Contaminated Soil Excavation and Disposal | 2900 | CY | 45 | 130500 | 20 | 58000 | 70 | 203000
0036 | Trench Excavation | 4800 | CY | 38 | 182400 | 60 | 288000 | 25 | 120000
0037 | Trenchless Installation | 330 | LF | 37 | 12210 | 200 | 66000 | 200 | 66000
0038 | Bedding and Pipe Zone Material | 2300 | CY | 55 | 126500 | 25 | 57500 | 65 | 149500
0039 | Trench Stabilization | 250 | CY | 94 | 23500 | 15 | 3750 | 50 | 12500
0040 | Level 3, 1/2-Inch Dense HMAC | 400 | Ton | 290 | 116000 | 250 | 100000 | 195 | 78000
0041 | Crack Seal | 7950 | LF | 3.6 | 28620 | 2.5 | 19875 | 2.5 | 19875
0042 | Aggregate Base Course | 550 | CY | 105 | 57750 | 40 | 22000 | 55 | 30250
0043 | Reinforced Concrete Pad | 840 | SF | 36 | 30240 | 35 | 29400 | 17 | 14280
0044 | Cast-In-Place Concrete Curb | 220 | LF | 50 | 11000 | 12 | 2640 | 55 | 12100
0045 | Concrete Sidewalk | 500 | SF | 25 | 12500 | 8 | 4000 | 14 | 7000
0046 | Pavement Marking | 2000 | SF | 1.3 | 2600 | 7.5 | 15000 | 3 | 6000
0047 | One-Year Landscape Maintenance | 1 | LS | 19000 | 19000 | 10000 | 10000 | 5000 | 5000
0048 | Area Seeding | 0.5 | Acre | 9000 | 4500 | 10000 | 5000 | 11000 | 5500
0049 | Mulch | 220 | SY | 10.5 | 2310 | 45 | 9900 | 32.5 | 7150
0050 | Irrigation Replacement | 1 | LS | 8500 | 8500 | 6000 | 6000 | 3000 | 3000
0051 | 3-Inch DR9 Pex Water Pipe | 860 | LF | 85 | 73100 | 3.5 | 3010 | 35 | 30100
0052 | 4-Inch DIP Water Pipe | 1260 | LF | 93 | 117180 | 80 | 100800 | 75 | 94500
0053 | 12-Inch DIP Water Pipe | 110 | LF | 172 | 18920 | 100 | 11000 | 270 | 29700
0054 | 16-Inch DIP Water Pipe | 1800 | LF | 188 | 338400 | 175 | 315000 | 270 | 486000
0055 | 4-Inch Reduced Pressure Backflow Assembly and Enclosure | 1 | LS | 16000 | 16000 | 30000 | 30000 | 11500 | 11500
0056 | 16-Inch Reduced Pressure Detector Assembly and Enclosure | 1 | LS | 125235 | 125235 | 140000 | 140000 | 80000 | 80000
0057 | 3-Inch Gate Valve | 4 | Each | 1045 | 4180 | 6000 | 24000 | 2000 | 8000
0058 | 4-Inch Gate Valve | 1 | Each | 1200 | 1200 | 7500 | 7500 | 2500 | 2500
0059 | 8-Inch Gate Valve | 1 | Each | 2150 | 2150 | 3000 | 3000 | 3500 | 3500
0060 | 16-Inch Butterfly Valve | 2 | Each | 5275 | 10550 | 15000 | 30000 | 4500 | 9000
0061 | 2-Inch Water Meter | 2 | Each | 6600 | 13200 | 7500 | 15000 | 3200 | 6400
0062 | 2-Inch Air Release Valve Assembly | 4 | Each | 3150 | 12600 | 4500 | 18000 | 2000 | 8000
0063 | Central Water Meter Vault and Manifold | 1 | LS | 12500 | 12500 | 14500 | 14500 | 22500 | 22500
0064 | Landside Utility Disconnections | 7 | Each | 235 | 1645 | 1500 | 10500 | 2500 | 17500
0065 | Airfield Fire Water Disconnection | 1 | LS | 44000 | 44000 | 4500 | 4500 | 35000 | 35000
0066 | Fire Hydrant Assembly | 6 | Each | 9700 | 58200 | 12500 | 75000 | 7500 | 45000
0067 | Manhole and Catch Basin Adjustment | 5 | Each | 1050 | 5250 | 5000 | 25000 | 1750 | 8750
| Total Amount Bid (Basis of Award) |  |  |  | 3002271 |  | 2871075 |  | 3120429.0987

## Summary
PORTLAND INTERNATIONAL AIRPORT
OREGON AIR NATIONAL GUARD
REVERSION AREAS UTILITY SERVICES
EAN 2021D001
Solicitation No. 2022-10053
2025-02-25
Bidder | Total Price
Magnum Power LLC | 2871075
Kodiak Pacific Construction Co. | $3,002,271.00*
Engineer's Estimate | 3120429.0987
*Corrected Bid Total