## Bid Item List
Acre
CY
Each
FT
Gal
Hour
LB
LF
LS
Mile
SF
SY
Ton
PORTLAND INTERNATIONAL AIRPORT
RUNWAY 10L-28R CIRCUIT REPLACEMENT
AND LED AND SMGCS UPGRADES
Item No. | Item Description | Estimated Quantity | Units | Unit Price | Total Price
0001 | Mobilization, Surveying, Cleanup, and Demobilization (Section 012200) | 1 | LS
0002 | Sweeper (Section 012200) | 1 | LS
0003 | Security Control Monitoring (Section 012200) | 1 | LS
0004 | Work Zone and Traffic Control (Section 012200) | 1 | LS
0005 | Escort (Section 012200) | 1 | LS
0006 | General Electrical Removal (Section 260500) | 1 | LS
0007 | Temporary Circuit Connection (Section 260500) | 1 | LS
0008 | Ground Rod for Counterpoise (Section 260526) | 2 | Each
0009 | 3-Inch Diameter Brass Marker (Section 260553) | 1 | Each
0010 | Install PF Elevated Runway End Light with CF Transformer on Existing Light Base (Section 344300) | 16 | Each
0011 | Install PF Elevated Runway Edge Light with CF Transformer on Existing Light Base (Section 344300) | 79 | Each
0012 | Install PF In-Pavement Runway Edge Light with CF Transformer on Existing Light Base (Section 344300) | 17 | Each
0013 | Install PF Runway Centerline Light with CF Transformer on Existing Light Base (Section 344300) | 195 | Each
0014 | Install PF In-Pavement Runway Threshold Light with CF Transformer on Existing Light Base (Section 344300) | 16 | Each
0015 | Install PF Taxiway Centerline Light with PF Remote and CF Transformer on Existing Light Base (Section 344300) | 143 | Each
0016 | Install PF Red Elevated Stop Bar Light with PF Remote and CF Transformer on Existing Light Base (Section 344300) | 14 | Each
0017 | Install PF Dual Stop Bar Light with PF Remote and CF Transformer on Existing Light Base (Section 344300) | 93 | Each
0018 | Install PF In-Pavement Runway Guard Light with CF Transformer on Existing Light Base (Section 344300) | 39 | Each
0019 | Install PF Red Elevated Stop Bar Light with CF Transformer on Existing Light Base (Section 344300) | 40 | Each
0020 | Install PF Elevated Runway Guard Light with CF Transformer on Existing Light Base (Section 344300) | 34 | Each
0021 | Install PF Dual Stop Bar Light with Two CF Transformers on Existing Light Base (Section 344300) | 108 | Each
0022 | Install PF Taxiway Centerline Light with CF Transformer on Existing Light Base (Section 344300) | 258 | Each
0023 | Install PF Elevated Taxiway Edge Light with CF Transformer on Existing Light Base (Section 344300) | 599 | Each
0024 | Install PF Taxiway Centerline Light on Existing Light Base (Section 344300) | 80 | Each
0025 | Install PF Dual Stop Bar Light on Existing Light Base (Section 344300) | 91 | Each
0026 | Install PF In-Pavement Runway Guard Light on Existing Light Base (Section 344300) | 14 | Each
0027 | Install PF In-Pavement Red Stop Bar Light with PF Remote and CF Transformer on Existing Light Base (Section 344300) | 10 | Each
0028 | Install CF 150-Watt, 6.6/6.6 Amp Isolation Transformer in Existing Base Can (Section 344300) | 91 | Each
0029 | Install PF Microwave Sensor with CF Transformer in Existing Base Can (Section 344300) | 14 | Each
0030 | Install PF Cover Plate on Existing Base Can (Section 344300) | 1 | Each
0031 | #6 AWG, 5kV Cable (Item L-108) | 55000 | LF
0032 | 2-inch PVC Direct Buried in Grass (Item L-110) | 150 | LF
0033 | 2-inch PVC in Existing ACP Shoulder (Item L-110) | 10 | LF
| Total Amount Bid (Basis of Award) |  |  |  | $___________

## Bid Tabulation
PORTLAND INTERNATIONAL AIRPORT |  |  |  | Colvico, Inc. |  | Vellutini Corporation dba Royal Electric Company |  | Engineer's Estimate
RUNWAY 10L-28R CIRCUIT REPLACEMENT
AND LED AND SMGCS UPGRADES
EAN 2017D029
Solicitation No. 2018-7600
2018-04-17
Item No. | Item Description | Estimated Quantity | Units | Unit Price | Total Price | Unit Price | Total Price | Unit Price | Total Price
0001 | Mobilization, Surveying, Cleanup, and Demobilization (Section 012200) | 1 | LS | 97272 | 97272 | 152000 | 152000 | 60000 | 60000
0002 | Sweeper (Section 012200) | 1 | LS | 18200 | 18200 | 34000 | 34000 | 50000 | 50000
0003 | Security Control Monitoring (Section 012200) | 1 | LS | 4368 | 4368 | 545 | 545 | 30000 | 30000
0004 | Work Zone and Traffic Control (Section 012200) | 1 | LS | 41123 | 41123 | 73000 | 73000 | 75000 | 75000
0005 | Escort (Section 012200) | 1 | LS | 7776 | 7776 | 5500 | 5500 | 1000 | 1000
0006 | General Electrical Removal (Section 260500) | 1 | LS | 140440 | 140440 | 2920 | 2920 | 40000 | 40000
0007 | Temporary Circuit Connection (Section 260500) | 1 | LS | 10616 | 10616 | 12200 | 12200 | 25000 | 25000
0008 | Ground Rod for Counterpoise (Section 260526) | 2 | Each | 176 | 352 | 209 | 418 | 300 | 600
0009 | 3-Inch Diameter Brass Marker (Section 260553) | 1 | Each | 211 | 211 | 56 | 56 | 150 | 150
0010 | Install PF Elevated Runway End Light with CF Transformer on Existing Light Base (Section 344300) | 16 | Each | 369 | 5904 | 332 | 5312 | 390 | 6240
0011 | Install PF Elevated Runway Edge Light with CF Transformer on Existing Light Base (Section 344300) | 79 | Each | 369 | 29151 | 367 | 28993 | 390 | 30810
0012 | Install PF In-Pavement Runway Edge Light with CF Transformer on Existing Light Base (Section 344300) | 17 | Each | 408 | 6936 | 436 | 7412 | 385 | 6545
0013 | Install PF Runway Centerline Light with CF Transformer on Existing Light Base (Section 344300) | 195 | Each | 383 | 74685 | 382 | 74490 | 385 | 75075
0014 | Install PF In-Pavement Runway Threshold Light with CF Transformer on Existing Light Base (Section 344300) | 16 | Each | 370 | 5920 | 332 | 5312 | 385 | 6160
0015 | Install PF Taxiway Centerline Light with PF Remote and CF Transformer on Existing Light Base (Section 344300) | 143 | Each | 384 | 54912 | 363 | 51909 | 400 | 57200
0016 | Install PF Red Elevated Stop Bar Light with PF Remote and CF Transformer on Existing Light Base (Section 344300) | 14 | Each | 405 | 5670 | 346 | 4844 | 385 | 5390
0017 | Install PF Dual Stop Bar Light with PF Remote and CF Transformer on Existing Light Base (Section 344300) | 93 | Each | 446 | 41478 | 387 | 35991 | 510 | 47430
0018 | Install PF In-Pavement Runway Guard Light with CF Transformer on Existing Light Base (Section 344300) | 39 | Each | 408 | 15912 | 387 | 15093 | 385 | 15015
0019 | Install PF Red Elevated Stop Bar Light with CF Transformer on Existing Light Base (Section 344300) | 40 | Each | 367 | 14680 | 346 | 13840 | 375 | 15000
0020 | Install PF Elevated Runway Guard Light with CF Transformer on Existing Light Base (Section 344300) | 34 | Each | 370 | 12580 | 360 | 12240 | 335 | 11390
0021 | Install PF Dual Stop Bar Light with Two CF Transformers on Existing Light Base (Section 344300) | 108 | Each | 570 | 61560 | 499 | 53892 | 500 | 54000
0022 | Install PF Taxiway Centerline Light with CF Transformer on Existing Light Base (Section 344300) | 258 | Each | 383 | 98814 | 361 | 93138 | 375 | 96750
0023 | Install PF Elevated Taxiway Edge Light with CF Transformer on Existing Light Base (Section 344300) | 599 | Each | 361 | 216239 | 322 | 192878 | 390 | 233610
0024 | Install PF Taxiway Centerline Light on Existing Light Base (Section 344300) | 80 | Each | 202 | 16160 | 276 | 22080 | 325 | 26000
0025 | Install PF Dual Stop Bar Light on Existing Light Base (Section 344300) | 91 | Each | 251 | 22841 | 274 | 24934 | 360 | 32760
0026 | Install PF In-Pavement Runway Guard Light on Existing Light Base (Section 344300) | 14 | Each | 202 | 2828 | 273 | 3822 | 325 | 4550
0027 | Install PF In-Pavement Red Stop Bar Light with PF Remote and CF Transformer on Existing Light Base (Section 344300) | 10 | Each | 446 | 4460 | 385 | 3850 | 470 | 4700
0028 | Install CF 150-Watt, 6.6/6.6 Amp Isolation Transformer in Existing Base Can (Section 344300) | 91 | Each | 213 | 19383 | 389 | 35399 | 160 | 14560
0029 | Install PF Microwave Sensor with CF Transformer in Existing Base Can (Section 344300) | 14 | Each | 568 | 7952 | 357 | 4998 | 1250 | 17500
0030 | Install PF Cover Plate on Existing Base Can (Section 344300) | 1 | Each | 285 | 285 | 229 | 229 | 75 | 75
0031 | #6 AWG, 5kV Cable (Item L-108) | 55000 | LF | 1.2 | 66000 | 2.5 | 137500 | 2.25 | 123750
0032 | 2-inch PVC Direct Buried in Grass (Item L-110) | 150 | LF | 13 | 1950 | 31 | 4650 | 15 | 2250
0033 | 2-inch PVC in Existing ACP Shoulder (Item L-110) | 10 | LF | 23 | 230 | 167 | 1670 | 40 | 400
| Total Amount Bid (Basis of Award) |  |  |  | 1106888 |  | 1115115 |  | 1168910

## Summary
PORTLAND INTERNATIONAL AIRPORT
RUNWAY 10L-28R CIRCUIT REPLACEMENT
AND LED AND SMGCS UPGRADES
EAN 2017D029
Solicitation No. 2018-7600
2018-04-17
Bidder | Total Price
Colvico, Inc. | 1106888
Vellutini Corporation dba Royal Electric Company | 1115115
Engineer's Estimate | 1168910
*Non-responsive to the small business requirements of this solicitation
^Corrected Bid Total